SSRL Sample Holder Request for Approval

Proposal #               Date Submitted: 		Beamline:           Expected beam time:

Contact:

PI: 					Application Review On:

* Allow at least 60 days for approval

Information on radioactive samples

1. Total sample matrix, weight, and dimensions.

2. The amount (weight) of each radioactive isotope in the sample.

3. A detailed description of the sample containment.

4. Provide engineer drawings of the holder

5. What is the periodicity that layers are replaced and the inner layer are checked?

6. Any data on integrity of the sample, the sample holder, and containment under the expected experiment conditions (e.g., heating, cooling, pressure, etc.)

7. Provide a QA form to indicate as the holder is built which parameters are verified by the institution. See example in attachment, each requestor can design their own QA form.

7. Special training requirements, in reference to handling, accountability, transport, etc. of the samples.  (The SLAC-SSRL requires a minimum of Radioactive Worker 1 (ESH) training for all experiment participants that will handle the contained samples. Rad Worker 1 training from other DOE facilities is transferrable to SLAC.  An SLAC- SSRL site-specific practical training will be required at the start of the experiment.)

8. Exposure readings from the sample at contact and at 30 cm, with a description of the instruments used to perform the measurements, if data is available.

9. Approximate beam size and flux on sample.

10. Beam type (Mono/Pink/White).

11. Beam energies if Mono or ID gap if pink/white.

12. Energy cutoff if pink beam.

Attachment QA Verification

This form is required for all radionuclides that require 3 layers of containment

# CHECKLIST for SAMPLE LOADING and CONTAINMENT ASSEMBLY of Holder 1xx

Laboratory of Origin: 	_____________________________________________________

Identification Label: 	_____________________________________________________

1.  Sample Description, Radionuclide(s), Location in Holder, and Radionuclide Quantity:

Holder ID:1xx

Slot 1:

_____________________________________________________________________________Preliminary Inspection                                                                    Initials

Back windows are a 0.002”(2mil) or thicker Kapton                  _________

Front window is 0.002” or thicker polypropylene                            _________

Visual inspection of window seal integrity                                   ---------------

Indium wire thickness                                                                 -------------

Epoxy expiration date                                                                    _________

Primary Containment Vessel Assembly:

Samples fixed in place                                                            	_________

Smooth seal surface                                                            	_________

< MDA dpm removable alpha & beta contamination.                       _________

< MDA fixed alpha and beta contamination.                              	_________

Secondary Containment Vessel Assembly:

Samples fixed in place                                                            	_________

Smooth seal surface                                                            	_________

< MDA dpm removable alpha & beta contamination.                       _________

< MDA fixed alpha and beta contamination.                              	_________

Tertiary Containment Vessel Assembly:

Samples fixed in place                                                            	_________

Smooth seal surface                                                            	_________

< MDA dpm removable alpha & beta contamination.                       _________

< MDA fixed alpha and beta contamination.                              	_________

Assembly configuration conforms to container specifications 	_________

Loader: ______________________________________________ Date: ___________

Print Name and Signature

Checker: ____________________________________________Date: ___________

Print Name and Signature

Surveyor: ___________________________________________Date:___________

Print Name and Signature